#R1

Q1: If the argument against vapor cell includes mm-thick walls for limiting short-range interactions below 100 um, I am not understanding how cold-atom comagnetometers over come this range in part by not having ‘cell walls’---isn’t the cold-atom comagnetometer contained within a vacuum chamber?

A1: 热原子体系需要使用vapor cell封装原子，cell的尺寸一般在毫米量级。而冷原子体系由光阱装载，并不依赖于cell wall的束缚，原子团布居局域，因此原子和质量块都封装在真空腔内，中间没有窗片和腔壁阻隔。

Q2: The total field used herein is relatively high compared to some of the other paramagnetic/paramagnetic-diamagnetic/and diag\magnetic pair systems you’ve mentioned in the introduction, which you allude to in the introduction. Doesn’t this affect your absolute energy resolution quite significantly as compared to these systems, as a ppm on 0.1 G is not as impressive as a ppm on the much lower fields used in those studies?

A2: 我们的冷原子共磁力仪的单次探测的绝对能量灵敏度2π×2 mHz，cycling time约30 s，其中interrogation time 10 s，主要受限于2×104原子数带来的统计误差，和光阱引入的剩余light shift；0.1 G磁场引入的噪声并不占主导，且在共磁力仪中能够被3×104的抑制比进一步压制。另外，在共磁力仪中，light shift无法像磁场噪声一样被抑制，因此，施加较大的磁场，能相对减小light shift的影响。而热原子不囚禁于光阱中，不受这项light shift影响；然而在实际测量中，根据不同的实验需要，热原子体系也会采用从几mG[11, Allmendinge 2014]到几十mG[13, Feng 2022]甚至几G[7, Vasilakis 2009]不等的主磁场。

Q3: Related to 2, how does your ppm performance and absolute energy resolution compare to other trapped atom systems more similar to your own?

A3: 当前有两项基于trapped atom systems的工作。其中一项共磁力仪利用87Rb的两个超精细能级组成[24]，抑制比为159(15)，工作磁场几百mG；考虑到cycling time 20 s (其中相干时长1 s)和磁场灵敏度8 pT/Hz，单次测量原子的绝对能量灵敏度δE/ℏ约为2π×13 mHz。另一项共磁力仪由87Rb和87Sr组成[25]，其中87Rb用于磁场校正，为了避免87Sr受光阱引入的light shift影响导致迅速退相干，他们需要施加100-1000 G的工作磁场，但也因此导致87Rb仅有毫秒级别相干；当工作磁场为500 G，累积1.5 h数据，频率比测量精度可达1.4 ppm，87Sr的绝对能量灵敏度约为2π×0.1 Hz。

Q4: The proposals at the end of the paper involving EDM searches, including those that incorporate 223Ra are 225Ra are ambitious, but I wonder how much these actually have to do with your current manuscript? You give no hard estimates of improvements sensitivity of your proposals herein, so it does not make sense to me to include them here.

A4: 当前我们的EDM测量采用的体系是171Yb，灵敏度受限于磁场噪声，若能采用171Yb-173Yb共磁力仪，能够有效提升EDM测量灵敏度。而若能将Yb同位素替换为Ra同位素，得益于Ra核的八极形变，还能进一步提高对EDM的灵敏度。利用Ra测量EDM是一项相对久远的计划，当前处于提案阶段，暂未进行对灵敏度的详尽分析。此处可以不必提及，我们已将Ra相关内容删除。

#R2

Q1: The "cat" state used for Yb-173, is it what is called a NooN state? Should the connection be mentioned?

A1: 原子的cat state (|F,+F⟩+|F,−F⟩)，与NOON态 (|N,0⟩+|0,N⟩)在希尔伯特空间结构上非常类似。对于cat state，在自旋F的角动量投影自由度上，两个stretch states构成了一个二维子空间；而对于NOON态，无论是原子体系还是光子体系，均是N个全同粒子在空间或模式自由度上的两极端占据数态的叠加。两者均是该系统在特定物理自由度上的两个最大差异本征态的相干叠加，因此均能实现相位测量的海森堡极限。在我们介绍cat state的上一项工作中[29]，已提及并引用了关于NOON state的内容；当前这项工作的关注重点为共磁力仪而非cat state，因此未在正文中提及。

Q2: In Fig. 4, there are significant deviations of the experiment from the model, why?

A2: 测量这条曲线时，为避免光阱tensor shift导致的退相干过于剧烈，此时阱功率约为Fig. 2实验条件的1/4，tensor shift对探测跃迁上态的劈裂也相应减小，因此，探测时并不能对mF态做出较好分辨。另外，不同原子在光阱不同位置感受到的tensor shift也不尽相同，整体展现为平均效应。此前simulation，我们仅考虑了探测到mF=±5/2的可能，以及无分布的tensor shift，因此理论曲线出现了与实际测量值无法贴合的尖峰。现在我们依据探测光对跃迁上态的所有mF态的失谐和不同跃迁的C-G系数，计算了探测到所有mF态的可能性，从mF=+5/2到−5/2的探测概率分别为：1, 0.58, 0.31, 0.16, 0.08, 0.03。另考虑的tensor场的空间分布，我们采用蒙特卡洛方法重新进行simulation，理论曲线的尖峰因此变得平滑，与实验值非常贴合。具体simulation 细节已放入method相应section。

Q3: Please check the formatting of the references. I noticed capitalization problems in Refs. 19 and 26.

A3: 我们已按照nature惯用格式要求，全文检查修改。按照nature惯用格式，我们未在Ref. 19中检查出大小写问题，但我们修正了包括Ref. 26等多处大写错误。

Q4: The authors mention the simultaneous effect of the Zeeman and tensor light shifts. In fact, this is a major effect (often referred to alignment-to-orientation conversion) that plays an important role in nonlinear Faraday rotation. The authors might wish to make this connection, if they think it is relevant.

A4: 在nonlinear Faraday rotation中，alignment-to-orientation conversion (AOC)来源于探测光的tensor shift，是自旋态在tensor shift下的相干演化，我们猫态制备正是利用了这一原理，让原子由最初的orientaion state变为alignment state。这一效应会使线性的faraday rotation发生额外的twist，产生非线性旋光效应，可以用于较弱磁场的高精度探测[Phys. Rev. Lett. 81, 5788 (1998)]。在我们的实验中，当激光偏振完美平行于外磁场方向时，alignment state同时也是tensor light shift的本征态，因此不会带来额外的效应；但当两者存在角度时，也会使得alignment state发生twist，正是AOC所描述的效应。因此我们在section Tensor shift中增加了引用[29, Budker 2000]，提及了两者的关联。另一方面，nonlinear faraday rotation源于原子对探测光的吸收，导致了探测光偏振发生了变化，在我们的体系中，interrogation time里仅仅只有optical lattice光，只在interrogation结束后对原子态进行读出，而原子对optical lattice的吸收均可以忽略不计，因此没有相应的旋光效应。

#R3

The biggest achievement of the paper is, to us, the implementation of a method to suppress light shifts induced by the trapping lattice, and the subsequent measurement “with a precision of 4 ppm” of the magnetic moment ratio between 171Yb and 173Yb.

Q1a: How valuable is this measurement/Why is it important?

A1a: 核磁矩是核的基本性质。当前测量核磁矩的主流方法是选定某一已知磁矩的校准元素，测量待测元素与校准元素的磁矩比并反推，因此提升磁矩比的测量精度很重要。此处我们实现了一种新的磁矩比测量方法，将Yb同位素的核磁矩之比的测量精度提升了一个量级；另外，通过更换不同的校准元素，也可以用于对其它元素核磁矩的测量。

Q1b: Why not provide the measured value directly in the abstract?

A1b: 我们已将测量值加入摘要。

Q1c: Have there been more measurements of this ratio apart from these of Refs. [29] and [30]? If so, a summary plot showing each measured value and associated uncertainty would be welcome. Are all the quoted values (authors and previous works) given with a 1-σ uncertainty?

A1c: 测量核磁矩之比需要同时对171Yb和173Yb进行测量，当前只有两项测量结果，0.7278(16) [29, 1964 NMR]和0.72610(4)[30, 1972(optical)]，与我们的测量结果0.726076(3)相比，基本都被1倍sigma覆盖。我们已将对比表格插入正文。

Q1d: In the part Ratio of nuclear magnetic moments (page 8), the authors compile values of the ratio of nuclear magnetic moment, RL, measured while different experimental parameters are varied to search for systematic effects (Figs. 2 and 3). Why are the different values not overlapping? Please comment on how the average is weighted and why.

A1d: Fig. 2b和Fig. 2d图中的RL为对不同磁场下测得的数据做抛物面拟合得到的极值点，意在验证tensor理论的正确性，拟合结果证明二者在误差允许范围内相符，即当tensor场和主磁场平行，RL与磁场大小无关。因此Fig. 3a和Fig. 3b均选在100 mG磁场下测量，分别测量对光阱功率，即light shift的依赖，以及对两同位素密度比的依赖，均未观察到明显的依赖关系。Fig. 3a和Fig. 3b各自独立测得一个加权平均值与误差棒，二者在误差允许范围内相符，我们将这两个值加权平均，得到了最终的核磁矩之比。在Section Ratio of nuclear magnetic moments中，我们增加了相关的说明细节。

The perspective of the paper concerns the search the of EDM using their experimental apparatus. As we understand, the main point here is that using a comagnetometer (rather than a single specie) should help reduced magnetic field noises which are currently the limiting factor.

Q2a: In the introduction, authors claim that the glass vapor cell comagnetometer are unsuitable to search for “short-range interactions below ~ 100 µm”. Could they elaborate? A citation would help here.

A2a:

“Current results are mainly limited by the Rb magnetometer sensitivity, and by the minimum distance between the BGO mass and Xe atoms. [13]”对于vapor cell体系，不仅腔壁的厚度会限制原子和质量的间距，且由于原子会在cell内无规则运动，原子-质量间距无法始终保持最近距离，而是会不断变化，因此测得的是不同距离下的平均效应。若要通过减小cell尺寸以此减小平均间距，一方面会损失统计灵敏度，另一方面会带来工艺上和光学上的挑战。

Q2b: Authors estimate an improvement of the sensitivity to spin-mass coupling by up to three orders of magnitude. Could they also elaborate on this? A plot showing current limits together with their projected sensitivity would, in my opinion, strengthen the paper.

A2b: 下图绿色曲线是我们预估的灵敏度曲线。此处，考虑单次cycling time 30 s，其中interrogation time 10 s，每天测量900组，单组灵敏度由单个原子的shot noise给出。另，质量块采用铂，体积为50×50×10μm，质量与原子的最近距离为5 μm。在此基础上，共计累积30天数据，由图中可见，在λ=4 μm处，对gsgp的灵敏度能够比此前最好结果[He]提升3个量级。然而实验当前处于装置搭建阶段，在正式数据采集之前，引入具体的灵敏度预测曲线可能不够严谨，而且本文的核心在于展示冷原子共磁力仪的原理与可行性。因此我们暂不将灵敏度分析放入正文。

Q3:“The ratio of their Larmor frequencies —termed the comagnetometer ratio—” We are not sure that this is a standard term.

A3: Comagnetometer ratio是我们为了方便起见自行定义的名称，并非标准说法，我们可以修改为Larmor frequency ratio.

Q4: In the introduction, the authors mention that they have identified a “novel systematic effect stemming from the interplay between Zeeman and tensor light shifts”. Does this refer to the discussion in section “Tensor shift”?

A4: 是的。当磁场和tensor场在不同比例下，对频率比也会体现出不同的影响。