#R1

Q1: If the argument against vapor cell includes mm-thick walls for limiting short-range interactions below 100 um, I am not understanding how cold-atom comagnetometers over come this range in part by not having ‘cell walls’---isn’t the cold-atom comagnetometer contained within a vacuum chamber?

A1: 在探测短程相互作用实验中，需要调节测试质量块和原子的距离，用vapor cell方法时，质量块在cell外才能改距离，因此热原子与质量块的最短距离不能小于vapor cell wall（一般都在mm 量级）。而冷原子方法，原子由光阱囚禁（光阱的径向尺寸一般在1-100微米），光阱和质量块都封装在真空腔内，距离可调，中间没有窗片和真空腔壁阻隔，原子和质量块的距离可以低至1-100微米。

Q2: The total field used herein is relatively high compared to some of the other paramagnetic/paramagnetic-diamagnetic/and diag\magnetic pair systems you’ve mentioned in the introduction, which you allude to in the introduction. Doesn’t this affect your absolute energy resolution quite significantly as compared to these systems, as a ppm on 0.1 G is not as impressive as a ppm on the much lower fields used in those studies?

A2: 0.1G，interrogation time 10 s，仅看171单种原子磁力仪，单次探测绝对能量（频率）灵敏度2π×2 mHz，绝对灵敏度主要受限于2×104原子自旋投影噪声，和光阱引入的剩余light shift，0.1 G磁场引入的噪声较小程度影响。

在共磁力仪中，磁场噪声能够被3×104的抑制比进一步压制，可忽略，对新物理来说，灵敏度不受抑制，单次灵敏度仍为xxx。

Q3: Related to 2, how does your ppm performance and absolute energy resolution compare to other trapped atom systems more similar to your own?

A3: 当前有两项基于trapped atom systems的工作。其中一项共磁力仪利用87Rb的两个超精细能级组成[24]，抑制比为159(15)，工作磁场几百mG； (其中相干ms的共磁力仪，或，相干时长1 s的磁力仪)计算毫秒共磁力仪8 pT/Hz，核自旋不构成共磁力仪δE/ℏ2π×13 mHz。另一项共磁力仪由87Rb和87Sr组成[25]，其中87Rb用于磁场校正，为了避免87Sr受光阱引入的light shift影响导致迅速退相干，他们需要施加100-1000 G的工作磁场，但也因此导致87Rb仅有毫秒级别相干；当工作磁场为500 G，累积1.5 h数据，频率比测量精度可达1.4 ppm，87Sr的绝对能量灵敏度约为2π×0.1 Hz。

Q4: The proposals at the end of the paper involving EDM searches, including those that incorporate 223Ra are 225Ra are ambitious, but I wonder how much these actually have to do with your current manuscript? You give no hard estimates of improvements sensitivity of your proposals herein, so it does not make sense to me to include them here.

A4: 听取意见，已将Ra相关内容删除。

#R2

Q1: The "cat" state used for Yb-173, is it what is called a NooN state? Should the connection be mentioned?

A1: 原子的cat state (|F,+F⟩+|F,-F⟩)，与NOON态N个全同两个极端占据数态 (|N,0⟩+|0,N⟩)在希尔伯特空间结构上非常类似。感谢，引用，等效NOON，BEC comag组

Q2: In Fig. 4, there are significant deviations of the experiment from the model, why?

A2: 此前simulation过于简化，我们仅考虑了探测到mF=±5/2的可能，实际测量这条曲线时，不是cat state，有所有mF，探测时并不能对mF态做出较好分辨。另外，此前假设tensor固定值，实际不同原子在光阱不同位置感受到的tensor shift也不同，整体展现为平均效应。因此理论曲线出现了与实际测量值无法贴合的尖峰。mF

意见后，改进。=±5/2现在我们依据探测光对跃迁上态的所有mF态的失谐和不同跃迁的C-G系数，计算了探测到所有mF态的可能性，具体的探测+5/2，从mF=+5/2到-5/2的探测概率分别为：1, 0.58, 0.31, 0.16, 0.08, 0.03。另考虑光阱tensor场的空间分布，我们重新进行simulation，理论曲线的尖峰因此变得平滑，与实验值更贴合。具体simulation 细节已放入method相应section (“Calibration of ΩB/ΩT”）。

文章其他部分，173 cat state只有+-5/2，且光功率4倍。

Q3: Please check the formatting of the references. I noticed capitalization problems in Refs. 19 and 26.

A3: 我们已按照nature惯用格式要求，全文检查修改。按照nature惯用格式，我们修正了包括Ref. 26的Yb以及Ref. 23, Ref. 24等多处大写错误。

Q4: The authors mention the simultaneous effect of the Zeeman and tensor light shifts. In fact, this is a major effect (often referred to alignment-to-orientation conversion) that plays an important role in nonlinear Faraday rotation. The authors might wish to make this connection, if they think it is relevant.

A4: 在nonlinear Faraday rotation中，alignment-to-orientation conversion (AOC)来源于探测光的tensor shift，是自旋态在tensor shift下的相干演化，我们猫态制备正是利用了这一原理，让原子由最初的orientaion state变为alignment state。这一效应会使线性的faraday rotation发生额外的twist，产生非线性旋光效应，可以用于较弱磁场的高精度探测[29, 2000]。除此之外，在simultaneous...中也有相关。我们的实验中，当激光偏振完美平行于外磁场方向时，alignment state同时也是tensor light shift的本征态，因此不会带来额外的效应；但当两者存在角度时，也会使得alignment state发生twist，正是AOC所描述的效应。因此我们在section Tensor shift中增加了引用[29, Budker 2000]，提及了两者的关联。

#R3

The biggest achievement of the paper is, to us, the implementation of a method to suppress light shifts induced by the trapping lattice, and the subsequent measurement “with a precision of 4 ppm” of the magnetic moment ratio between 171Yb and 173Yb.

Q1a: How valuable is this measurement/Why is it important?

A1a: 核磁矩是核的基本性质。当前测量核磁矩的主流方法是选定某一已知磁矩的校准元素，测量待测元素与校准元素的磁矩比并反推，因此提升磁矩比的测量精度很重要。此处我们实现了一种新的磁矩比测量方法，将Yb同位素的核磁矩之比的测量精度提升了一个量级；另外，通过更换不同的校准元素，也可以用于对其它元素核磁矩的测量。

Q1b: Why not provide the measured value directly in the abstract?

A1b: 我们已将测量值加入摘要。

Q1c: Have there been more measurements of this ratio apart from these of Refs. [29] and [30]? If so, a summary plot showing each measured value and associated uncertainty would be welcome. Are all the quoted values (authors and previous works) given with a 1-σ uncertainty?

A1c: 之前只有两项测量结果，根据意见，我们已将对比表格插入正文（括号是1倍（注释加1倍））。是1倍。试过plot，errorbar量级差距，难以在一张图内

Q1d: In the part Ratio of nuclear magnetic moments (page 8), the authors compile values of the ratio of nuclear magnetic moment, RL, measured while different experimental parameters are varied to search for systematic effects (Figs. 2 and 3). Why are the different values not overlapping? Please comment on how the average is weighted and why.

A1d: Fig. 2b和Fig. 2d图中的RL为对不同磁场下测得的数据做抛物面拟合得到的极值点，意在验证tensor理论的正确性，拟合结果证明二者在误差允许范围内相符，即当tensor场和主磁场平行，RL与磁场大小无关。因此对齐后，Fig. 3a和Fig. 3b均选在100 mG磁场下测量，分别测量对光阱功率，即light shift的依赖，以及对两同位素密度比的依赖，均未观察到明显的依赖关系。Fig. 3a和Fig. 3b各自独立测得一个加权平均值与误差棒，二者在误差允许范围内相符，我们将这两个值加权平均，得到了最终的核磁矩之比。在Section “Ratio of nuclear magnetic moments”中，我们增加了相关的说明细节。

列表，RL，四个RL符合，Fig2b磁场不同，没有加入计算，2d对应3a，

The perspective of the paper concerns the search the of EDM using their experimental apparatus. As we understand, the main point here is that using a comagnetometer (rather than a single specie) should help reduced magnetic field noises which are currently the limiting factor.

Q2a: In the introduction, authors claim that the glass vapor cell comagnetometer are unsuitable to search for “short-range interactions below ~ 100 µm”. Could they elaborate? A citation would help here.

A2a:

In Feng et al.,“Current results are mainly limited by the Rb magnetometer sensitivity, and by the minimum distance between the BGO mass and Xe atoms. [13]”，他们的厚度。

Q2b: Authors estimate an improvement of the sensitivity to spin-mass coupling by up to three orders of magnitude. Could they also elaborate on this? A plot showing current limits together with their projected sensitivity would, in my opinion, strengthen the paper.

A2b: 下图绿色曲线5是我们预估的灵敏度曲线。此处，考虑单次测量时间 30 s，其中interrogation time 10 s，每天测量900组，单组灵敏度由单个原子的shot noise给出。另，质量块采用铂，体积为50×50×10μm，质量与原子的最近距离为5 μm。在此基础上，共计累积30天数据，由图中可见，在λ=4 μm处，对gsgp的灵敏度能够比此前最好结果[He]提升3个量级。然而实验当前处于装置搭建阶段，以上物理参数尚在探索，在正式数据采集之前，发表具体的灵敏度预测曲线可能不够严谨，而且本文的核心在于展示冷原子共磁力仪的原理与可行性。因此我们暂不将灵敏度分析放入正文。

Figure 1. Constraints on the coupling constants gsgp of the spin-dependent force as a function of the force range λ. Line 1:  M. Guigue, D. Jullien, A. K. Petukhov, and G. Pignol, Phys. Rev. D 92, 114001 (2015). Line 2: Feng, Y.-K., Ning, D.-H., Zhang, S.-B., Lu, Z.-T. & Sheng, D. Phys. Rev. Lett. 128, 231803 (2022).

URL https://link.aps.org/doi/10.1103/PhysRevLett.128.231803. line 3:  129Xe − 131Xe −Rb comagnetometer [19, 39], line 4:   3He − 129Xe comagnetometer [20], line 5: The predicted results of this work.

Q3:“The ratio of their Larmor frequencies —termed the comagnetometer ratio—” We are not sure that this is a standard term.

A3: Comagnetometer ratio是我们为了方便起见自行定义的名称，并非标准说法，我们已经修改为Larmor frequency ratio.

Q4: In the introduction, the authors mention that they have identified a “novel systematic effect stemming from the interplay between Zeeman and tensor light shifts”. Does this refer to the discussion in section “Tensor shift”?

A4: 是的。当磁场和tensor场在不同比例下，对频率比也会体现出不同的影响。